## Slide 1
This project is funded by the EU
Why Palau?
PICO 5a.12
Balloon-borne Tropospheric Ozone Measurements from a New Station in Palau (Tropical West Pacific)
Images by Katrin Müller(KM)
Katrin Müller, Peter von der Gathen, Ingo Wohltmann, Ralph Lehmann and Markus Rex
EGU GA AS3.19 10.04.2019
Contact: Katrin.Mueller@awi.de
Want to know the real reasons?
Obvious reasons…

## Slide 2
This project is funded by the EU
Contact: Katrin.Mueller@awi.de
PICO 5a.12
The Tropical West Pacific: Research Motivation
Palau Atmospheric Observatory
Data Overview
Tropospheric O3 Variability
Transport and Origin of Airmasses

## Slide 3
The Tropical West Pacific: Research Motivation
Palau Atmospheric Observatory
Data Overview
Tropospheric O3 Variability
Transport and Origin of Airmasses
Balloon-borne Tropospheric Ozone Measurements from a New Station in Palau (Tropical West Pacific)
This project is funded by the EU
Contact: Katrin.Mueller@awi.de
I
II
III
IV
V
Katrin Müller, Peter von der Gathen, Ingo Wohltmann, Ralph Lehmann and Markus Rex
*
Main Menu
More Info / Back
Change Slides
NAVIGATION
SUMMARY
/ x
Images by Katrin Müller(KM)
*
Clockwise presentation – or pick a „cloud“ of interest!

## Slide 4: I The TWP: Research Motivation
Major source region* for stratospheric air in boreal winter
(e.g. Fueglistaler et al. 2004)
Origin and transit region* of corresponding air masses in boundary layer and troposphere (Rex et al. 2014)
Persistent tropospheric Ozone minimum*
(Rex et al. 2014)
Corresponding OH minimum* and prolonged life times of various chemical species (e.g. Kley et al. 1996)
GEOS Chem:
tropos. OH column
SO2 gas phase
lifetime [days]
25
7
Image: Markus Rex

## Slide 5: I The TWP: Research Motivation
Major source region* for stratospheric air in boreal winter
(e.g. Fueglistaler et al. 2004)
Origin and transit region* of corresponding air masses in boundary layer and troposphere (Rex et al. 2014)
Persistent tropospheric Ozone minimum*
(Rex et al. 2014)
Corresponding OH minimum* and prolonged life times of various chemical species (e.g. Kley et al. 1996)
Important region for supply
of chemical species to the stratosphere*
GEOS Chem:
tropos. OH column
SO2 gas phase
lifetime [days]
25
7
Lack of (continuous) measurements: gap* in the observational network
Atmospheric Dynamics
Atmospheric Chemistry
Image: Markus Rex

## Slide 6: II Palau Atmospheric Observatory
Stratospheric and upper tropospheric processes for better Climate predictions
Established in 01/2016 as part of the EU-project StratoClim with several international and local partners (see below), second container with ComCAL Lidar system added in fall 2018, continuation until (at least) 2021
Located in the Tropical West Pacific warm pool, 7.34 N 134.47 E, 23 m a.s.l.
two 20 foot lab containers in downtown Koror, Palau, at the local community college
More photo impressions
*
Image: Ingo Beninga
StratoClim is part of a European Research cluster on aerosols with funding from 2013 – 2019
Main research focus: dynamics and chemistry of pathways to the stratosphere, mainly in the Asian Monsoon region
All data will be available after the completion of the project (~ mid 2019) - and any time upon request
Contribution to SHADOZ network avisioned

## Slide 7
FTIR Spectrometer:
Total abundances of
~ 20 chemical species
Lidar:
Vertical profiles of
aerosol properties
Since 2018: multi-λ cloud
and aerosol lidar ComCAL
in new lab
Research balloons:
Vertical profiles of
Ozone
Aerosol
Water vapour
MaxDOAS:
Pandora2S – Pandonia Network O3, NO2, AOD (, H2O, SO2, …)
II Instrumentation
MICA:
Ground sampling of
OCS, CO, CO2, H2O
Temp. @ CRRF site
*
*

## Slide 8: III Data Overview
Temporal deployment of 5 different devices for measuring different atmospheric parameters in numbers:
  3650 atmospheric profiles from lidar measurements in 2016
  90 hours of measurements with the new lidar system in 2018
  5 months of MAXDOAS observations (Oct 2016-Feb 2017)
  More than 4500 solar absorption spectra from FTIR measurements
  1 month of ground in situ gas measurements with MICA @ CRRF site
A total of 126 ECC ozone soundings was obtained in intensive campaigns (spring and fall) and continuous, mostly bi-weekly measurements.
ECC sonde preparation are performed carefully according to WMO/GAW‘s Panel for the Assessment of Standard Operating Procedures for Ozonesondes (ASOPOS) (GAW Rep. No.201, Sept.2011) in awareness of the difficulties of ozone soundings in the tropics and the controversial measurements of very low VMR in the Tropical West Pacific in particular (see e.g. Voemel and Diaz 2010, Newton et al. 2016, Thompson et al. 2019)
Additional 8 measurements with CFH and COBALD sondes
*
First data publication in preparation

## Slide 9: III Tropospheric O3
Arrows mark individual soundings, gaps are mostly due to personnel or logistical shortages
Data is linearly interpolated onto a daily-100 m grid (for RH and T see )
Time-height-cross-section for O3 Volume Mixing Ratios (VMR)
*
*

## Slide 10: III Intensive Campaigns
„spring“
„fall“
2016
2017
2018
20 ppb reference line
O3 Volume Mixing Ratios

## Slide 11: III Data Quality
In general within the uncertainty range for tropical ECC ozone sondes (e.g. Smit et al. 2007, GAW report No.201, 2011, Thompson et al. 2019)
Comparison with satellite data and other ozone sounding (SHADOZ) stations in progress
Limitations of the dataset:
  too sparse sampling frequency to capture some (e.g. day-to-day) variabilities (see e.g. Liu et al. 2016 for discussion)
  comprised of only 3 years of data
  uneven distribution of measurements for different seasons
Strengths:
  EL Nino year included
  intensive campaigns during the regional tropospheric minimum ozone season (NH summer/fall): robust capture of the lowest VMRs
  high potential for case study analysis
  Coinciding with POSIDON campaign and local and regional WB57 measurements
*
*

## Slide 12: IV Tropospheric O3 Variability
Dominant seasonal signals in the lower and mid-troposphere: expected O3 Minimum in NH late summer/fall, layers of elevated O3, often anti-correlated with RH from February until June
Interannual differences: very dry and ozone rich mid-troposphere in spring 2016 during El Nino 2016
< 30 % RH
O3 Volume Mixing Ratios (VMR)
with Relative Humidity (RH) below 30 % superimposed in grey shading
*
*

## Slide 13: IV Tropospheric O3 Variability
Clear annual cycle in the TTL in accordance with tropopause height and temperature variations related to seasonality of Brewer Dobson circulation (e.g. Randel et al. 2007) and enhanced high altitude convective outflow (Folkins et al. 2006)
Transport to the stratosphere and the tropospheric O3 minimum occur in boreal late summer/fall
< 30 % RH
O3 Volume Mixing Ratios (VMR)
with Relative Humidity (RH) below 30 % superimposed in grey shading
*

## Slide 14: IV Mean O3 Profiles
Monthly mean profile shapes suggest a grouping into shifted seasons (i.e. NDJ, FMA, MJJ, ASO) possibly underlying differing meteorological conditions
Large interannual differences between the El Nino year 2016 and 2017/2018 are clearly visible in the annual profiles and suggest a separation of the years for further statistical analysis
*

## Slide 15: IV „Longterm“ Monthly Mean O3
Anomalies from the annual mean emphasis the annual cycles in the TTL (early NH summer maximum) and mid-troposphere (late NH summer/fall minimum)
The temporal displacement of the higher O3 VMR from the mid-troposphere in spring to the lower stratosphere in summer seem typical for the wider region (compare for Hanoi SHADOZ station, Ogino et al. 2013)
*
Seasonality shows well in „longterm“ statistics from monthly means for 01/2016 - 03/2019

## Slide 16: IV „Longterm“ Monthly Mean O3
Relative Standard Deviation (RSD) from monthly means and monthly means of the free-tropospheric mean (5-14 km) and minimum (6-12 km) O3 VMR of all individual soundings serve as examplatory statistical measures for seasonal variability
*
*

## Slide 17: IV Bimodal distribution?
CONTRAST observations reveal a bimodal distribution of free tropospheric ozone
Primary mode: (RH>45%) controlled by tropical convective overturning, which homogenizes air masses
Secondary mode: i.e. enhanced mid-trop. O3 layers, controlled by non-local processes – under investigation: Randel et al. 2016, Anderson et al. 2016
Alternative explanation for low UT VMRs
Data from aircraft insitu measurements in the TWP (from Guam) during CONTRAST in January 2014 (Pan et al., 2015 & 2017)
Data from Palau soundings (all years and seasons) do not reveal a pronounced bimodal distribution, but the primary mode is evident.
Seasonal analysis might show bimodality
Layer normalized densities relative to the maximum VMR
Relative Frequencies of VMR in 320-340 K layer
Pan et al. 2015
RH>45%
RH>45%

## Slide 18: V Transport and Origin of Air masses
Our approach: characterization of air masses by their relative ozone and water vapor abundance
Analysis of layered structures of High/Low O3/H2O in the tropical mid-troposphere has been done by various studies, mostly focusing on the origin of High O3/ Low H2O layers (e.g. Newell et al. 1996, Stoller et al. 1999, Thouret et al. 2001, Hayashi et al. 2008 and more recently Pan et al. 2015, Anderson et al. 2016, Randel et al. 2017)
  Discussed possible origins of these layers are local and remote bio mass burning, transport of midlatitude UTLS air or tropical UT air
Analysis with Palau and coinciding StratoClim campaign data from Bangladesh is still ongoing
*

## Slide 19: V O3 vs. H2O Seasonality
Examples of different combinations of High/Low O3/H2O layers
Case studies and (statistical) analysis ongoing
Low O3/ high H2O
Low O3/ low H2O
Overall Lowest O3 measured in the TTL: 7ppb!
High O3/ low H2O
High O3/ high H2O

## Slide 20: V Transport and Origin of Air masses
Distribution of all free-tropospheric profile data with O3 relative to RH
O3
H2O
(3)
High Ozone / dry
(2)
Low Ozone / dry
(4) High Ozone / wet
(1) Low Ozone / wet
*
Despite the dominance of low O3 VMR (compare bimodal analysis ), we group data in 4 categories and hypothesize 4 different transport pathways

## Slide 21: V Transport Pathways to the TWP
Walker circulation
Trade winds
Clear sky cooling
Convective uplift
Transport way, color-coded for O3/H2O relation
(3) High Ozone / dry
(2) Low Ozone / dry
(4) High Ozone / wet
Low Ozone / wet
Dominating in Aug-Nov:
Occurance in Feb-Jun:
South East Asia
America
PALAU
(134°E)
Extratropical stratosphere
Tropopause
O3
H2O
cv
< 30 % RH
*
Hypothesis will be evaluated by back-trajectory analysis and in analogy to previous studies
VERY Preliminary results from trajectory analysis of selected cases:
Air masses from (South-East) Asia reaching Palau from the North
(East)-Pacific air masses
cv
*

## Slide 22: V Trajectory Analysis: Case Studies
Back-trajectories calculated with fully Lagrangian ATLAS model driven by ERA-interim wind fields and optional convective scheme (Wohltmann et al. 2019 in discussion @ GMDD)
Example: POSIDON case study for a High O3/Low H2O case, 19.10.2016
Analysis of trajectories including convection in progress
*
*

## Slide 23: Summary
The Tropical West Pacific with its clean air is an important region for the supply of chemical species to the stratosphere.
The Palau Atmospheric Observatory started operations in 01/2016 and fills an observational gap in this key region with a comprehensive setup.
3 years of ozone sounding data give insight on the seasonal cycle of tropospheric O3 and relevant atmospheric processes, including to a certain extent interannual variability (El Nino).
Significant seasonal signals are the annual cycle in the TTL (~ Maximum in August) and the mid-troposphere (~ Minimum in August until October): transport to the stratosphere with longest lifetimes for different chemical species occurs in late boreal summer/fall; no overall bimodal distribution of free tropospheric O3 was found (compare Pan et al. 2015).
The relation between O3 and H2O in mid-tropospheric layers indicates different origins of air masses – we hypothesize four different ways of transport. Trajectory analysis including convective activity is still ongoing.
The Tropical West Pacific: Research Motivation
Data Overview
Tropospheric O3 Variability
Transport and Origin of Airmasses
*
*
*
*
OUTLOOK
Palau Atmospheric Observatory
*

## Slide 24: Outlook
First Paper presenting the dataset in preparation (Müller et al. 2019)
Data comparison with satellite measurements and SHADOZ stations
Back-trajectory and statistical analysis of O3/H2O layers in comparison to recent regional studies
Box-modelling of OH to further constrain the oxidizing capacity of this important stratospheric entry region

## Slide 25: More Info
*

## Slide 26: I The Tropical West Pacific (TWP)
Highest SST globally: high energy convection
Upwelling branches of global atmospheric circulation patterns
Main wind direction: East, little anthropogenic influence
Long term annual mean sea surface temperature (SST) [oC]
4
12
16
20
24
27
26
28
30
8
14
18
22
Gap in the observational network (dots: Ozone Sounding Stations)

## Slide 27: I The O3 Minimimum Seasonality
O3 Minimum is persistent
Exists year round (strongest in NH summer & fall)
Is affected by ENSO (follows the warm pool)
Rex et al., 2014
TES tropospheric ozone columns

## Slide 28: I Tropospheric Oxidizing Capacity
In the absence of hydrocarbons, CO and NOx, i.e. „clean“ air, the major source of OH is formation via:
This couples ozone concentration and oxidizing capacity
and provides an efficient loss mechanism for ozone in the tropical West Pacific
Image: Markus Rex

## Slide 29: I The TWP: source for stratospheric air
TransBrom Campaign with RV Sonne in 2009 (see e.g. Rex et al. 2014)
2
4
6
Source of strat. air
relative units
ATLAS
Ozone sonde station
Density distribution function of the horizontal positions of the trajectories between boundary layer and Lagrangian Cold Points Red thick line: TransBrom Cruise 2009
Rex et al., 2014
Image: Markus Rex

## Slide 30: I The TWP: Research Motivation
2
4
6
Ozone sondes:
tropospheric ozone column
GEOS Chem:
Tropospheric ozone column
ATLAS
“Source of stratospheric air”
fully lagrangian ATLAS model
relative units
GEOS Chem:
tropospheric OH column
SO2 gas phase
lifetime [days]
25
7
Rex et al., 2014
CH2Br2
Lifetime [days]
286
69
Density distribution function of the horizontal positions of the trajectories between boundary layer and Lagrangian Cold Points Red thick line: TransBrom Cruise 2009
Lifetime comparison for tropical Atlantic and West Pacific (values for mid-troposphere- 500 hPa at the equator for typical conditions)

## Slide 31
FTIR Spectrometer:
Total abundances of
~ 20 chemical species
Lidar:
Vertical profiles of
aerosol properties
Since 2018: multi-λ cloud
and aerosol lidar ComCAL
in new lab
Research balloons:
Vertical profiles of
Ozone
Aerosol
Water vapour
Instrumentation
MICA:
Ground sampling of
OCS, CO, CO2, H2O
Temp. @ CRRF site
*
MaxDOAS:
Pandora2S – Pandonia Network O3, NO2, AOD (, H2O, SO2, …)
The Pandora 2S instrument in Palau is part of a few remote stations (PI: Jürgen Fischer, FU Berlin) within the larger PANDONIA network
Sponsored by ESA
Interested in the data? see www.pandonia.net
Operational: 10/2016-02/2017 12/2018 until now
Image: Katrin Müller

## Slide 32
FTIR Spectrometer:
Total abundances of
~ 20 chemical species
Lidar:
Vertical profiles of
aerosol properties
Since 2018: multi-λ cloud
and aerosol lidar ComCAL
in new lab
MaxDOAS:
Pandora2S – Pandonia Network O3, NO2, AOD (, H2O, SO2, …)
Instrumentation
MICA:
Ground sampling of
OCS, CO, CO2, H2O
Temp. @ CRRF site
*
*
Research balloons:
Vertical profiles of
Ozone
Aerosol
Water vapour
Continuous and intensive soundings
Since 01/2016

## Slide 33: II ECC Sonde Measurement Principle
Anode reaction: oxidation of iodide
Cathode reaction: reduction of iodine
Image: Vaisala Manual
flow of electrons is directly proportional to O3
Sensing Solution: unsaturated | saturated
KI (+KBr and buffers)
Chemical reaction between and:
Calculation of Ozone Partial Pressure
=
with : yield ratio of electrons per ozone molecule
Controversial and treatment not standardized in the community
Origin and development unknown
sensor background current
*
- box/pump temperature
- ECC flow rate
- empirical correction for
pressure dependent pump flow efficiency
pump
ECC = Electrochemical Concentration Cell
Image: Katrin Müller

## Slide 34: II ECC Sonde Detection Limit
Extratropical
West Pacific ~30o
Tropical
West Pacific
Standard approach:
Constant background current correction
Pressure dependent background current correction
Robust upper limit:
No background current correction
Background current correction is of great importance for the tropical upper troposphere!
TransBrom 2009
Rex et al., 2014

## Slide 35: II ECC Sonde Detection Limit
Overall instrumental uncertainty
GAW Report No. 201, 2011
Contribution of the Background current
0.01µA
0.05µA
0.10µA
0.01µA
0.05µA
0.10µA

## Slide 36: III RH and T
Relative Humidity and Temperature profiles from Radiosonde measurements (Vaisala RS92 until 10/2017, then RS41)
February-June much drier than August-November
Lowest temperatures and highest Minimum in winter
min O3 in TTL region
min T

## Slide 37: III CFH sonde example
< 27.10.2017
sonde
sonde
2.11.2017 >

## Slide 38: IV El Nino 2015/2016
X
NOAA, bi-weekly ENSO update, 15.02.2016
Positive OLR anomalies indicate suppressed convection and precipitation
Wind anomalies might reveal air reaching Palau from atypical directions
Air parcels from NW, S or SW could introduce pollutants from e.g. biomass burning, enhanced by irregular droughts
X
X
Further analyses will follow…

## Slide 39: IV Annual TTL cycle
Feedback during the El-Nino year in the upper troposphere: suppressed convection in NH spring/summer with less uplift of ozone-poor air from the ground or wash-out of ozone precursors
Reoccuring signal in the lower stratosphere: accumulation of ozone-rich air during the summer months which is then transported upwards and towards higher latitudes during winter by the residual circulation (Brewer-Dobson) annual cycle
300m Layer around 18.15km
min T
*
*
…more layer plots

## Slide 40: IV TTL
26.+ 28.+31.01.2016
Transition zone located between ozone minimum (Ozonopause) and temperature minimum (cold point Tropopause)
Overlapping processes:
  dominating, slow radiatively driven ascent
  beginning of photochem. ozone production
  meridional mixing of air from the extra- tropical lower stratosphere
TTL=
Tropical
Tropopause
Layer
Various existing definitions: LITERATURE HERE
Randel&Jensen 2013, nature geosciences
Holten et al. 1995

## Slide 41: IV Layer Plots

## Slide 42: IV Seasonal variations Hanoi/Hong Kong
Seasonal Variation of O3 VMR from ozone sonde data from 09/2004-11/2011, Ogino et al. 2013
Hanoi
Hong Kong

## Slide 43: IV Relative Standard Deviations
RSD: Measure of variability for tropospheric O3
Dominant peak in the TTL: the annual cycle
Minimum at ~10 km (not present for the El Nino year 2016)  maybe 2 regimes?
Relative high variability in the lower and mid troposphere
Further analysis and comparison with other (SHADOZ) stations required
*

## Slide 44: IV Shifted Seasonal Mean O3 Profiles
Shifted seasons were chosen subjectively for their differences in shape and structure
the known „S-shape“ profile (e.g. Folkins et al. 2002, Pan et al. 2015) dominates mainly in FMA and slightly less pronounced NDJ, when the occurence of enhanced O3 layers is highest
ASO months show a straight profile with little interannual variability and a steep onset of higher levels of (stratospheric) O3 at lower heights than winter and spring months, i.e. a well-mixed troposphere with high-reaching convective uplift of ozone-poor air from the boundary layer
The lowest transition to the stratosphere occurs in MJJ months, when the Brewer-Dobson circulation is weakest. The MJJ profile resembles a „tilted“ instead of a straight line in the following months, lacking a pronounced ozonopause, accounting for the occurence of enhanced O3 layers in the upper troposphere and a lack of UT convective outflow

## Slide 45: IV NDJ
Following a period of low Min and Mean (ASO), November shows increased values again, the lower of two annual peaks
The interannual variability is high, especially in January possibly due to El Nino conditions

## Slide 46: IV FMA
The „S-Shape profiles“ (see e.g. Folkins 2002 or Pan et al. 2015) in FMA show relatively high Mean values
Background O3 (Min) is quite steady around 20 ppb, significantly higher than during ASO months (14.5 ppb)

## Slide 47: IV MJJ
Highest mean and greatest difference between Mean and Min occur in May, followed by declining values until August
A pronounced ozonopause occurs less often compared to the S-shape profiles of FMA months

## Slide 48: IV ASO
Highest sampling rate throughout the year: best captured day-to-day variations
Free-tropospheric Min and Mean are lowest in August and October respectively with the smallest difference between Min and Mean
Background O3 (Min) is quite steady around 14.5 ppb, significantly lower than during FMA months (20ppb)

## Slide 49: V High O3 layer analysis
Hayashi et al. 2008 analyzed ozone sonde data from 3 different SHADOZ stations
Overall occurence of Enhanced O3 layers ~50% per year with seasonal variations
Watusek Samoa San Cristobal

## Slide 50: V Trajectory Analysis: Case Study
Unusual high O3 event 19.10.2016 in the TTL along flight path between 133˚ and 145˚E, North of Palau (10˚-15˚N) – in agreement with Palau sonde
Courtesy of Ru-Shan Gao
?
Palau Sonde
Courtesy of Andrew Rollins, NOAA
October 2016, from Guam
PIs: Ru-Shan Gao (NOAA) and Eric Jensen (NASA)
WB-57 aircraft, measuring O3, H2O, SO2, N2O, various halogenated trace gases…
3 simultaneous measurements near Palau
Pacific Oxidants, Sulfur, Ice, Dehydration and cONvection Experiment
October 19th 2016 (ECC)
WB-57

## Slide 51: V Trajectory Analysis: Case Studies
Low O3/ high H2O
Low O3/ low H2O
High O3/ low H2O
High O3/ high H2O
Sonde altitude

## Slide 52: V Trajectory Analysis: Case Studies
Low O3/ high H2O
Low O3/ low H2O
High O3/ low H2O
High O3/ high H2O
Sonde ozone

## Slide 53: Measurement Routines
Images: KM and courtesy of Jürgen Gräser (AWI)

## Slide 54: The beginning – and extention
Images: KM and courtesy of Jürgen Gräser (AWI) and Ingo Beninga (impres GmbH)

## Slide 55: Visitors/Outreach
Images: KM and courtesy of Jürgen Gräser (AWI) and Jordis Tradowsky (Bodeker Scientific)

## Slide 56: Acknowledgements
StratoClim consortium
@AWI: Physics of the Atmosphere section with Daniel Kreyling, Jürgen Gräser, Holger Deckelmann, Siggi Debatin and others
@IUP: Justus Notholt, Winfried Markert, Tine Weinzierl
@impres GmbH: Ingo Beninga, Wilfried Ruhe
@Palau: Patrick Tellei (PCC), Pat and Lori Colin (CRRF), Sharon Patris (CRRF), Gerda Ucharm (CRRF), Ronnie Giman and CTSI, Thomas Schubert and many others
Contact: Katrin.Mueller@awi.de